## Sheet1
Pesticide factory - commonly used in laboratories
serial number | name | Common models | Features
1 | Portable pH Meter ¦ Acidity Meter ¦ Acidity Tester | PHB-4 | Laboratory precision measurement of solution pH and electrode potential
2 | Portable Conductivity Meter | DDBJ-350 | Instrument can perform conductivity, TDS, salinity and temperature measurements
3 | Gradient Liquid Chromatograph | LC600B | Qualitative and quantitative analysis
4 | Gas Chromatograph | JC-2011 | Qualitative and quantitative analysis
5 | automatic potentiometric titrator | ZD-2 | Control the titration end point according to the set potential, with manual, automatic, constant pH (potential) titration modes
6 | Scanning UV-Vis Spectrophotometer | UV759 | High Resolution, Ground Stray Light, LCD Display UV-Vis Spectrophotometer
7 | Automatically controlled rotary evaporator | JC-ZF-1L | Used for continuous distillation of volatile solvents under reduced pressure, used in chemistry, chemical industry, biomedicine and other fields
8 | Flame Graphite Furnace Integrated Atomic Absorption Spectrophotometer | JC-YZ-600 | Quantitative analysis based on the degree of absorption of characteristic radiation by ground-state atoms of the measured element
9 | Automatic trace moisture analyzer | JC-SF-1 | Suitable for the determination of moisture in most liquids, gases and solids
10 | Automatic trace moisture analyzer | JC-SF-1 | Suitable for the determination of moisture in most liquids, gases and solids
11 | Constant temperature water bath | HH-6 | Water bath constant temperature heating and other temperature tests
12 | Formaldehyde analyzer | JC-PPM-800II | Used in indoor environment formaldehyde detection, environmental protection decoration, scientific research and teaching, environmental monitoring departments, special equipment for formaldehyde detection in inspection and quarantine
13 | Portable Pesticide Residue Rapid Tester | JC-NB | Detection of Organophosphorus and Carbamate Pesticide Residues in Fruits and Vegetables
14 | Atomic Fluorescence Photometer | JC-YG-200 | Three lights and three channels