## Sheet1
Soil solid waste expansion plan
Test items | product name | Common models | Product Specifications
1 | Standard soil sample sampler | JC-803A | Kit, available for each sampler model
2 | Powered (gasoline) soil sampler | JC-PST50CC | gasoline powered
3 | soil organic matter sampler | JC-803C | The diameter of the sampling tube is 38mm , the length is 241mm , and the sampling length is 20cm . Standard configuration sampling depth 5m
4 | Soil heavy metal sampler | JC-803D | The sampling diameter is 5cm , the length of one sampling is 20cm , and the sampling volume of one single point is about 1kg
5 | Soil shaker | JC-TRX-6 | Use with φ 200mm test sieve
6 | Vertical semicircular planetary ball mill (agate grinding) | JC-QM | 0.25-1L
7 | Soil sieve (sieve 100 mesh sieve) | F-SD200 | Sieve 100 mesh sieve, one layer of sieve
8 | pH meter | PHBJ-260 | pH: (0.00～14.00) pH
9 | Fully automatic oscillator | JC-GGC1000 | 6 bottles
10 | Magnetic stirrer | 79 series -2 | Two-way magnetic stirrer
11 | Automatic Kjeldahl nitrogen analyzer | JC-DN-04C | Tap water source, including 4 -hole digital digester
12 | Inductively Coupled Plasma Emission Spectrometer | ICP-9100 | Inductive feedback self-excited oscillation circuit, automatic ignition, coaxial cable output matching tuning, power feedback, closed-loop automatic control
13 | Graphite digester | JC-101D
14 | Microwave Digestion Apparatus | JC-1015W | 60 digestion wells
15 | Visible - UV Landscape Photometer | UV759\UV759CRT | Wavelength 190-1100nm
16 | Ultrasonic cleaner | JC-QXS-1.3L | 1.3L
17 | Quadruple Soxhlet Extractor | JC-ST-04 | 4 samples; extraction bottle volume: 250ml/ piece
18 | Fully automatic oscillator | JC-GGC2000 | 6 bottles
19 | Solid phase extraction instrument model | JC-GX-12 | 12 samples
20 | Low-speed benchtop centrifuge | TDL-4 | 4000 rpm _ _
twenty one | Gas Chromatograph | JC-2011 | Standard
twenty two | Gradient Liquid Chromatograph | LC600B | Micro Volume Tandem Double Plunger
twenty three | ion chromatograph ion chromatograph | IC-700
twenty four | autoclave | 18L | 18L
25 | Heated Incubators | HN series | HN series-50BS
26 | 1/10,000 electronic analytical balance | FA1004B | 0-100g range, 0.1mg readability
27 | Constant temperature water bath | HH series-8 type | 300W
Temperature control range: room temperature -100 degrees
28 | Negative pressure purification workbench | BHC-1300A2 type | Class 100 (Federal Standard 209E)
29 | Micropipette | NPX2-100 | 10~100μL
30 | full temperature air shaker | CHA-S Reciprocating | Reciprocating
31 | Micro-wave oven | beautiful
32 | Practical soil nutrient analyzer | JC-TY01 | Ammonium nitrogen, available phosphorus, available potassium, moisture, organic matter, pH (pH test paper method), etc.;
33 | Portable Soil Temperature, Moisture, Salt , PH Speed ​​Tester ¦ Soil Moisture Tester | JC-TR-4G | Soil pH , moisture, temperature, etc.
34 | Portable Soil Heavy Metal Detector | TPJS-B | Rapid Measurement of Heavy Metal Composition in Soil
35 | drying oven | JC-TR-24 Soil Drying Box | The number of sample chambers is 24